# 1️⃣ SOP Title

Lighting Setup SOP – Event Illumination Planning, Installation & Safety Procedure

# 2️⃣ Department

Banquet / Events

(Co-ordination: Engineering, AV Team, Décor Vendor, Security)

# 3️⃣ Purpose

To establish a structured lighting setup procedure to ensure:

- Proper illumination for event type

- Safe electrical installation

- Enhanced ambience and visual appeal

- Clear visibility for guests and speakers

- Prevention of electrical hazards

Lighting must support the event theme while maintaining safety.

# 4️⃣ Scope

Applicable to:

- Weddings

- Conferences

- Award ceremonies

- Product launches

- Cocktail events

- Social gatherings

Applies to:

- Engineering Team

- AV Technician

- Banquet Supervisor

- Décor Vendor

# 5️⃣ Responsibility

| Position | Responsibility |
| --- | --- |
| Banquet Supervisor | Confirm lighting requirement |
| Engineering | Install electrical setup |
| AV Technician | Adjust lighting effects |
| Security | Ensure safe cable routing |

# 6️⃣ Step-by-Step Procedure

# PART A – REQUIREMENT REVIEW

## A. BEO & Event Analysis

- Review approved BEO.

- Identify event type (formal, wedding, party).

- Confirm stage lighting requirement.

- Confirm ambient lighting preference.

- Confirm special effects (spotlight, mood lighting).

# PART B – EQUIPMENT PREPARATION

## B. Inventory Check

- Inspect LED lights and fixtures.

- Check dimmer panels.

- Verify cables and connectors.

- Ensure sufficient extension boards.

- Keep backup lighting units ready.

# PART C – INSTALLATION

## C. Fixture Placement

- Position stage lights at correct angle.

- Install spotlights focused on podium/stage center.

- Set ambient lights evenly across hall.

- Ensure no direct glare on guests.

- Maintain balance between brightness and comfort.

# PART D – ELECTRICAL SAFETY

## D. Wiring & Load Check

- Check power load capacity.

- Avoid overloading circuits.

- Secure all cables with proper covering.

- Ensure earthing is intact.

- Keep wiring away from water sources.

Safety check is mandatory before testing.

# PART E – TESTING & ADJUSTMENT

## E. Illumination Testing

- Switch on all lighting fixtures.

- Adjust brightness levels.

- Test spotlight movement (if applicable).

- Ensure screen visibility not affected.

- Confirm emergency lighting operational.

# PART F – DECOR COORDINATION

## F. Visual Alignment

- Coordinate lighting color with décor theme.

- Avoid blocking decorative elements.

- Confirm backdrop lighting alignment.

- Ensure no overheating near fabric.

# PART G – REHEARSAL CHECK

## G. Trial Run

- Conduct lighting test during rehearsal.

- Adjust spotlight for speakers.

- Confirm dance floor lighting (if required).

- Finalize dimming sequence for program flow.

# PART H – EVENT MONITORING

## H. During Event

- Monitor brightness during speeches.

- Adjust lighting for performances.

- Respond immediately to flickering issues.

- Ensure stable power supply.

# PART I – SHUTDOWN PROCEDURE

## I. Post-Event

- Switch off lights systematically.

- Allow fixtures to cool before removal.

- Coil cables properly.

- Store equipment safely.

- Report any damage.

# PART J – FINAL INSPECTION

## J. Safety Confirmation

- Inspect hall after equipment removal.

- Confirm no exposed wires left.

- Document equipment condition.

- Inform Engineering of required repair.

# 7️⃣ Do’s and Don’ts

### Do’s

✔ Follow approved lighting plan
✔ Maintain safe wiring
✔ Test brightness levels
✔ Keep backup lights ready
✔ Monitor during event

### Don’ts

✘ Don’t overload circuits
✘ Don’t block emergency exits
✘ Don’t leave loose cables
✘ Don’t ignore overheating
✘ Don’t delay testing

# 8️⃣ Operational Standards

- Lighting setup completed before guest arrival

- All fixtures tested

- Emergency lights operational

- No exposed wiring

- Supervisor approval obtained

# 9️⃣ Escalation Matrix

| Situation | Escalate To |
| --- | --- |
| Electrical issue | Engineering |
| Equipment failure | AV Technician |
| Safety hazard | Security |
| Vendor-related issue | Banquet Manager |
| Power overload risk | Engineering |

# 🔟 Documentation / Records Required

- BEO Copy

- Lighting Setup Checklist

- Electrical Safety Log

- Equipment Inventory Record

- Testing Confirmation Sheet

- Incident Report (if applicable)

# 1️⃣1️⃣ Common Mistakes to Avoid

- Poor lighting angle causing glare

- Not testing before event

- Overloading electrical lines

- Ignoring cable management

- Weak coordination with décor team

- No backup lighting available